| Inspection Year: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Site: |  |  | Address: |  |  |
| Inspector: |  |  | Company: |  |  |
| Municipality Contact: |  |  | Phone: |  |  |

* Facility owner responsible for inspecting, maintaining, and repairing facility components after major storm events (greater than ½”), annually at a minimum.  Check any deficiencies noted and comment for maintenance actions taken, date of repair, and any alerts.  Inspection items with no * should be completed by a qualified professional every five years (or more frequently if concerns are noted).

| Inspection Item | Storm Date | Storm Date | Storm Date | Maintenance Action | Date |
| --- | --- | --- | --- | --- | --- |
| Catch Basin / Proprietary Device Inlet Protection * Debris / Trash Accumulation * Abnormal water levels * Sediment / Floatables Accumulation * Depressions around facility Joint Separation Cracks in Concrete Deteriorated piping Displacement of Structure |  |  |  | Remove after Stabilization Clean up/Remove Contact Municipality Remove (pump and dispose of at wastewater treatment plant) ** Contact Municipality Contact Municipality Contact Municipality Contact Municipality Contact Municipality |  |

** Pumping Details (based on design guidelines):

| Type of unit(s) |  |  | Design Pumping Frequency |  |  |
| --- | --- | --- | --- | --- | --- |
| Dates Pumped |  |  |  |  |  |
| Pumper |  |  | Disposal Location |  |  |