S. 07 (6) ALTERNATE REQUIREMENTS (AGRICULTURAL FACILITIES)

By protecting the resources through the use of BMPs, you are limiting liability to the farmer on existing infrastructure, both municipal and adjacent land owner (for example: culverts, flooding roadways, unstable outlet across a neighbor’s field, drainage way erosion, road ditches, “secondary containment” for stored chemicals, manure, local and regional flooding).

Side benefits: water quality improvement, groundwater recharge, peak flow reduction, wildlife habitat and protection, reduced liability (offsite financial, onsite secondary containment), onsite reduced flooding/better planned drainage

Thresholds (impervious):

- < 20,000 sq. ft = drainage plan, assessment of offsite impacts, explanation of mitigation (we need engineered examples: disconnect, VTA, etc.)

- > 20,000 sq. ft to 1 acre = all of the above + waiver specs (if waiver specs not met, calculation is needed)

- > 1 acre = bullet 1 and engineered plan

  - See S.07 (b) PEAK DISCHARGE

Source Areas:

- Feedpads

- Roofs

- Driveways

- Barnyards

- Existing impervious surfaces

- Calf housing/feeding areas

- Contributing area to waste storage area (calf housing, sand storage, etc.)

*Crushed gravel, lime screening, paved surfaces, and compacted soil are considered impervious.

BMPs for Source Areas:

- Feedpad

  - Collection system (waste storage)

  - VTA

  - Pond

  - Manure storage offset

- Roof

  - Pond

  - Swale

  - Infiltration trench

  - Ground gutter

  - Manure storage offset

- Driveway

  - Pond

  - Swale

  - Infiltration trench

  - Ground gutter

  - Manure storage offset

- Barnyards

  - Collection system (waste storage)

  - VTA

  - Pond

  - Manure storage offset

- Existing impervious surfaces

  - Collection system (waste storage)

  - VTA

  - Pond

  - Manure storage offset

  - Swale

  - Infiltration trench

  - Ground gutter

  - Permeable pavement

*Swales, infiltration trench, pond not permitted as BMPs from some surfaces (barnyards/feedpads) due to potential pollutant loading/significant discharge, also see 151 for source area exemptions.

Prescriptive Scenarios:

- Impervious areas < 1 acre

  - Runoff flows onto a buffer, cropland, or woodland

    - 100 ft. overland flow or

    - 1,000 ft. channelized flow or

    - Prorated combination

  - A farm owns at least 35 acres contiguous in the same watershed

  - Impervious surface is at least 300 ft. from navigable stream or wetland

  - Impervious surface is at least 1,000 ft. from a lake or pond or karst feature

  - Protective area requirements are met—see S.07 (d)

- Waste storage offset credit (TO DO: determine ratio of impervious footprint to waste storage size.  Based on soil type, location, and existing problems from runoff.)

- Barnyard

  - Barnyard all goes to pit

  - Barnyard all goes to VTA

- Feedpad

  - Feedpad all goes to pit

  - Feedpad all goes to VTA

  - Other

- Ground gutter

- Existing space between barns

- New impervious swapping with existing (topographic challenges)

- Regional